Replacing DataGrabber Standard Registration with Token

Requirements:

- DataGrabber (or OEM version) must be on version 2.3 build 35

- Customer’s IT to ensure access and whitelist registration servers if needed for very secure networks (hospitals, schools, etc.):

  - 10.0.100.77

  - xvreg.azurewebsites.net

- Static IP addresses for each PC that is to use DataGrabber

  - Offices should have a knowledgeable IT professional to set this up for them.

  - If IP addresses are not static, computers have the potential for soaking up >1 token

Requesting DataGrabber registration code for token registration

When you receive a call or ticket from a client who needs to be converted to token registration, please submit a ticket to us at https://apteryximaging.zendesk.com/hc/en-us/requests/new with the following information:

- Registration code to be used for their installation of DataGrabber.

  - Can be located by right-clicking DG > About

  - Detailed info at https://apteryximaging.planetdds.com/hc/en-us/articles/4407896296219-DataGrabber-and-Rebrands-Finding-Active-Registration-Number

- Once created, we will send you the token INI file in our reply.

Installing token registration

NOTE: Make sure DataGrabber is not open on any workstation in the office. If any residual files prevent you from running the upgrader or renaming the ARI file, go to computer management > shared folders > open files and close any open DataGrabber and related files within the /Apteryx/, /Shared Files/, or /DataGrabber/ folder. Be sure the folder containing DataGrabber is not open in File Explorer as well.

- If not already updated to version 2.3 build 35, download the DataGrabber upgrader from Legacy Downloads (https://apteryximaging.zendesk.com/hc/en-us/articles/4412764698779), located under the “DataGrabber and OEM versions” tab. If running an OEM version, download and install the upgrader corresponding to the name of the OEM version.

  - Run and install the upgrader as needed, “yes to all” when prompted

- Place token INI (ApteryxINI.ini) provided by Apteryx into the application’s directory

- Rename any .ari file to .old

- Verify DataGrabber now launches without issue from an existing workstation. If so, permanently delete the old .ARI file